## Order Entry
| Order QTY | Choose receptacle | Cable/Conduit Type | Brand Preference | Whip Length (ft) | Tail Length (ft) | Conduit Color | Label Color (Background/Text) | building | PDU | Panel | First Circuit | Second Circuit | Third Circuit | Cage | Cabinet Number | Included Breaker | Mounting bolt | Standard Size | Conductor AWG | Green AWG | Voltage | Current | Box | L1 | L2 | L3 | N | E | Drawing number | Notes to Enconnex | Orderable Part number | Whip Parts Cost | Breaker Cost | Total parts Cost | Whip List | Breaker adder | List Price | Budgetary pricing text | Margin list | Margin 25% disc | Margin 40% disc | Brand options | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | phase type | conductor count | EGND Count | neutral | Wire Code | Wire Area/cable size | UseVoltage | plate hole | min Box Vol | Min_Conduit_Npt | Slected box code | Selected Box NPT | Box code options | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | Box options | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | Breaker options | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | Mount option |  |  | label options | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | Wire Color Code | MCC Color Code | Conduit Color Options | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | Cable Types | spill-> | spill-> | spill-> | spill-> | spill-> | spill-> | Fitting Selected | Fitting Options | spill-> | spill->
1 | 1 | L21-30R | LFMC | Best Value | 66 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW66S-L2130RT-001SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 66ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
2 | 1 | L21-30R | LFMC | Best Value | 78 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW78S-L2130RT-002SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 78ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
3 | 1 | L21-30R | LFMC | Best Value | 64 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW64S-L2130RT-003SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 64ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R |  | choice # | choice | dictates | requires
4 | 1 | L21-30R | LFMC | Best Value | 76 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW76S-L2130RT-004SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 76ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | 1GR | 1GTR | 4x4R |  |  |  | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | #N/A | #N/A | #N/A |  |  |  | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R |  | 1 | receptacle | current+mount type+plate type+wire count | customer
5 | 1 | L21-30R | LFMC | Best Value | 62 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW62S-L2130RT-005SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 62ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R |  | 2 | Conduit type | min wire size+ fitting type | customer
6 | 1 | L21-30R | LFMC | Best Value | 74 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW74S-L2130RT-006SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 74ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R |  | 3 | wire size | area+volume | current+min wire size
7 | 1 | L21-30R | LFMC | Best Value | 102 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW102S-L2130RT-007SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 102ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R |  | 4 | conduit | min entry size or fitting size | area or wire size+cable type
8 | 1 | L21-30R | LFMC | Best Value | 120 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW120S-L2130RT-008SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 120ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R |  | 5 | fitting |  | fitting type+ (conduit size or cable size)
9 | 1 | L21-30R | LFMC | Best Value | 104 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW104S-L2130RT-009SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 104ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R |  |  | box |  | volume+min entry+mount type
10 | 1 | L21-30R | LFMC | Best Value | 118 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW118S-L2130RT-010SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 118ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
11 | 1 | L21-30R | LFMC | Best Value | 106 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW106S-L2130RT-011SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 106ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
12 | 1 | L21-30R | LFMC | Best Value | 116 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW116S-L2130RT-012SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 116ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
13 | 1 | L21-30R | LFMC | Best Value | 54 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW54S-L2130RT-013SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 54ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
14 | 1 | L21-30R | LFMC | Best Value | 66 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW66S-L2130RT-014SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 66ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
15 | 1 | L21-30R | LFMC | Best Value | 52 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW52S-L2130RT-015SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 52ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
16 | 1 | L21-30R | LFMC | Best Value | 64 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW64S-L2130RT-016SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 64ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
17 | 1 | L21-30R | LFMC | Best Value | 50 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW50S-L2130RT-017SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 50ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
18 | 1 | L21-30R | LFMC | Best Value | 62 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW62S-L2130RT-018SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 62ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
19 | 1 | L21-30R | LFMC | Best Value | 66 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW66S-L2130RT-019SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 66ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
20 | 1 | L21-30R | LFMC | Best Value | 78 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW78S-L2130RT-020SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 78ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
21 | 1 | L21-30R | LFMC | Best Value | 64 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW64S-L2130RT-021SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 64ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
22 | 1 | L21-30R | LFMC | Best Value | 76 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW76S-L2130RT-022SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 76ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
23 | 1 | L21-30R | LFMC | Best Value | 62 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW62S-L2130RT-023SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 62ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
24 | 1 | L21-30R | LFMC | Best Value | 74 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW74S-L2130RT-024SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 74ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
25 | 1 | L21-30R | LFMC | Best Value | 102 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW102S-L2130RT-025SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 102ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
26 | 1 | L21-30R | LFMC | Best Value | 120 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW120S-L2130RT-026SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 120ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
27 | 1 | L21-30R | LFMC | Best Value | 104 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW104S-L2130RT-027SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 104ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
28 | 1 | L21-30R | LFMC | Best Value | 118 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW118S-L2130RT-028SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 118ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
29 | 1 | L21-30R | LFMC | Best Value | 106 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW106S-L2130RT-029SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 106ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
30 | 1 | L21-30R | LFMC | Best Value | 116 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW116S-L2130RT-030SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 116ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
31 | 1 | L21-30R | LFMC | Best Value | 54 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW54S-L2130RT-031SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 54ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
32 | 1 | L21-30R | LFMC | Best Value | 66 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW66S-L2130RT-032SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 66ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
33 | 1 | L21-30R | LFMC | Best Value | 52 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW52S-L2130RT-033SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 52ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
34 | 1 | L21-30R | LFMC | Best Value | 64 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW64S-L2130RT-034SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 64ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
35 | 1 | L21-30R | LFMC | Best Value | 50 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW50S-L2130RT-035SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 50ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R
36 | 1 | L21-30R | LFMC | Best Value | 62 | 6 | Grey (conduit) | White/Black (UL) | [10 empty] | 1/2 | 10 | 10 | 208 | 30 | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Black | Red | Blue | White | Green | PWxx-L2130RT-xxSALx(001) |  | PW62S-L2130RT-036SAL???? | #N/A | 0 | #N/A | #N/A | 0 | ??? | Whip, L21-30R, 10AWG, White/Black (UL) Label, 1/2 LFMC Grey (conduit) 62ft+6ft tail AL Box , List Price ???ea | #VALUE! | #VALUE! | #VALUE! | Best Value | Enconnex | [5 empty] | 3Y | 3 | 1 | 1 | 2025-10-04 | 0.1055 | 208 | 1.6 | 15 | 0.5 | 1G | 0.5 | 1G | 1GT | 4x4 | [6 empty] | Outlet Box, Cast Aluminum, 1 gang Bell 5320 or equv | Outlet Box, Cast Aluminum, 1 gang, tabbed (Hubbell FS or equiv) | 4" Square, 2 1/8" deep, Welded, raised ground | [6 empty] | 3 Pole, 30A, 240V, Bolt in, 22KA, Square D, QOB330VH | 3 Pole, 30A 240V, Bolt in, 10KA, Square D, QOB330 | 3 Pole, 30A, 240V, Plug in, 10KA, GE/ABB, THQL32030 | [6 empty] | None | 1 Bolt | 2 Bolt Bracket | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [11 empty] | KRLWG |  | Grey (conduit) | Black (conduit) | Red (conduit) | Blue (conduit) | [7 empty] | MCC | FMC | LFMC | LSZH | LFNC |  |  |  | S | R

## Technical Data
Technical Data Sheet
Generated from DCN transformation
Compliance: NEC 2020, IEEE Standards
Quality Assurance: Factory tested and certified
Total Order Lines: 2
Generated: 8/27/2025, 11:47:20 PM