## Order Entry
ID | Order QTY | Choose receptacle | Select Cable/Conduit Type | Whip Length (ft) | Tail Length (ft) | Label Color (Background/Text) | building | PDU | Panel | First Circuit | Second Circuit | Third Circuit | Cage | Cabinet Number | Included Breaker | Mounting bolt | Conduit Size | Conductor AWG | Green AWG | Voltage | Box | L1 | L2 | L3 | N | E | Drawing number | Notes to Enconnex | Orderable Part number | base price | Per foot | length | Bolt adder | assembled price | Breaker adder | Price to Wesco | List Price | Budgetary pricing text | phase type | conductor count | neutral | current | UseVoltage | plate hole | box | Box code | Box options | Breaker options
1 | 1 | 460C9W | MCC | 250 | 10 | Black (conduit) |  |  |  | 1 | 3 | 5 |  |  |  |  | 3/4 | 6 | 8 | 208 | Standard Power Whip Box | -------- | -------- | -------- | -------- | -------> | PWxx-460C9WT-xxSALx(103) | Pattern 460C9W - No exact match found in lookup data | PW250K-460C9WT-D2SAL1234 | 287.2 | 6 | 260 | 0 | 1847.2 | 0 | 1847.2 | 2462.933333 | Whip 460C9W 6AWG 3/4MCC 250ft, Price to Wesco 1847.2ea | 3D | 3 | 0 | 60 | 208 | 60AH | 60AH | 60AH |  | 3 Pole, 60A, 240/120V, Bolt in, 22KA, Square D, QOB360VH
1 | 1 | 460C9W | MCC | 250 | 10 | Black (conduit) |  |  |  | 1 | 3 | 5 |  |  |  |  | 3/4 | 6 | 8 | 208 | Standard Power Whip Box | -------- | -------- | -------- | -------- | -------> | PWxx-460C9WT-xxSALx(103) | Pattern 460C9W - No exact match found in lookup data | PW250K-460C9WT-D2SAL1234 | 287.2 | 6 | 260 | 0 | 1847.2 | 0 | 1847.2 | 2462.933333 | Whip 460C9W 6AWG 3/4MCC 250ft, Price to Wesco 1847.2ea | 3D | 3 | 0 | 60 | 208 | 60AH | 60AH | 60AH |  | 3 Pole, 60A, 240/120V, Bolt in, 22KA, Square D, QOB360VH
1 | 1 | 460C9W | MCC | 250 | 10 | Black (conduit) |  |  |  | 1 | 3 | 5 |  |  |  |  | 3/4 | 6 | 8 | 208 | Standard Power Whip Box | -------- | -------- | -------- | -------- | -------> | PWxx-460C9WT-xxSALx(103) | Pattern 460C9W - No exact match found in lookup data | PW250K-460C9WT-D2SAL1234 | 287.2 | 6 | 260 | 0 | 1847.2 | 0 | 1847.2 | 2462.933333 | Whip 460C9W 6AWG 3/4MCC 250ft, Price to Wesco 1847.2ea | 3D | 3 | 0 | 60 | 208 | 60AH | 60AH | 60AH |  | 3 Pole, 60A, 240/120V, Bolt in, 22KA, Square D, QOB360VH
1 | 1 | 460C9W | MCC | 250 | 10 | Black (conduit) |  |  |  | 1 | 3 | 5 |  |  |  |  | 3/4 | 6 | 8 | 208 | Standard Power Whip Box | -------- | -------- | -------- | -------- | -------> | PWxx-460C9WT-xxSALx(103) | Pattern 460C9W - No exact match found in lookup data | PW250K-460C9WT-D2SAL1234 | 287.2 | 6 | 260 | 0 | 1847.2 | 0 | 1847.2 | 2462.933333 | Whip 460C9W 6AWG 3/4MCC 250ft, Price to Wesco 1847.2ea | 3D | 3 | 0 | 60 | 208 | 60AH | 60AH | 60AH |  | 3 Pole, 60A, 240/120V, Bolt in, 22KA, Square D, QOB360VH
1 | 1 | 460C9W | MCC | 250 | 10 | Black (conduit) |  |  |  | 1 | 3 | 5 |  |  |  |  | 3/4 | 6 | 8 | 208 | Standard Power Whip Box | -------- | -------- | -------- | -------- | -------> | PWxx-460C9WT-xxSALx(103) | Pattern 460C9W - No exact match found in lookup data | PW250K-460C9WT-D2SAL1234 | 287.2 | 6 | 260 | 0 | 1847.2 | 0 | 1847.2 | 2462.933333 | Whip 460C9W 6AWG 3/4MCC 250ft, Price to Wesco 1847.2ea | 3D | 3 | 0 | 60 | 208 | 60AH | 60AH | 60AH |  | 3 Pole, 60A, 240/120V, Bolt in, 22KA, Square D, QOB360VH
1 | 1 | 460C9W | MCC | 250 | 10 | Black (conduit) |  |  |  | 1 | 3 | 5 |  |  |  |  | 3/4 | 6 | 8 | 208 | Standard Power Whip Box | -------- | -------- | -------- | -------- | -------> | PWxx-460C9WT-xxSALx(103) | Pattern 460C9W - No exact match found in lookup data | PW250K-460C9WT-D2SAL1234 | 287.2 | 6 | 260 | 0 | 1847.2 | 0 | 1847.2 | 2462.933333 | Whip 460C9W 6AWG 3/4MCC 250ft, Price to Wesco 1847.2ea | 3D | 3 | 0 | 60 | 208 | 60AH | 60AH | 60AH |  | 3 Pole, 60A, 240/120V, Bolt in, 22KA, Square D, QOB360VH
1 | 1 | 460C9W | MCC | 250 | 10 | Black (conduit) |  |  |  | 1 | 3 | 5 |  |  |  |  | 3/4 | 6 | 8 | 208 | Standard Power Whip Box | -------- | -------- | -------- | -------- | -------> | PWxx-460C9WT-xxSALx(103) | Pattern 460C9W - No exact match found in lookup data | PW250K-460C9WT-D2SAL1234 | 287.2 | 6 | 260 | 0 | 1847.2 | 0 | 1847.2 | 2462.933333 | Whip 460C9W 6AWG 3/4MCC 250ft, Price to Wesco 1847.2ea | 3D | 3 | 0 | 60 | 208 | 60AH | 60AH | 60AH |  | 3 Pole, 60A, 240/120V, Bolt in, 22KA, Square D, QOB360VH
1 | 1 | 460C9W | MCC | 250 | 10 | Black (conduit) |  |  |  | 1 | 3 | 5 |  |  |  |  | 3/4 | 6 | 8 | 208 | Standard Power Whip Box | -------- | -------- | -------- | -------- | -------> | PWxx-460C9WT-xxSALx(103) | Pattern 460C9W - No exact match found in lookup data | PW250K-460C9WT-D2SAL1234 | 287.2 | 6 | 260 | 0 | 1847.2 | 0 | 1847.2 | 2462.933333 | Whip 460C9W 6AWG 3/4MCC 250ft, Price to Wesco 1847.2ea | 3D | 3 | 0 | 60 | 208 | 60AH | 60AH | 60AH |  | 3 Pole, 60A, 240/120V, Bolt in, 22KA, Square D, QOB360VH
1 | 1 | 460C9W | MCC | 250 | 10 | Black (conduit) |  |  |  | 1 | 3 | 5 |  |  |  |  | 3/4 | 6 | 8 | 208 | Standard Power Whip Box | -------- | -------- | -------- | -------- | -------> | PWxx-460C9WT-xxSALx(103) | Pattern 460C9W - No exact match found in lookup data | PW250K-460C9WT-D2SAL1234 | 287.2 | 6 | 260 | 0 | 1847.2 | 0 | 1847.2 | 2462.933333 | Whip 460C9W 6AWG 3/4MCC 250ft, Price to Wesco 1847.2ea | 3D | 3 | 0 | 60 | 208 | 60AH | 60AH | 60AH |  | 3 Pole, 60A, 240/120V, Bolt in, 22KA, Square D, QOB360VH
1 | 1 | 460C9W | MCC | 250 | 10 | Black (conduit) |  |  |  | 1 | 3 | 5 |  |  |  |  | 3/4 | 6 | 8 | 208 | Standard Power Whip Box | -------- | -------- | -------- | -------- | -------> | PWxx-460C9WT-xxSALx(103) | Pattern 460C9W - No exact match found in lookup data | PW250K-460C9WT-D2SAL1234 | 287.2 | 6 | 260 | 0 | 1847.2 | 0 | 1847.2 | 2462.933333 | Whip 460C9W 6AWG 3/4MCC 250ft, Price to Wesco 1847.2ea | 3D | 3 | 0 | 60 | 208 | 60AH | 60AH | 60AH |  | 3 Pole, 60A, 240/120V, Bolt in, 22KA, Square D, QOB360VH