## Order Entry
ID | Order QTY | Choose receptacle | Select Cable/Conduit Type | Whip Length (ft) | Tail Length (ft) | Label Color (Background/Text) | building | PDU | Panel | First Circuit | Second Circuit | Third Circuit | Cage | Cabinet Number | Included Breaker | Mounting bolt | Conduit Size | Conductor AWG | Green AWG | Voltage | Box | L1 | L2 | L3 | N | E | Drawing number | Notes to Enconnex | Orderable Part number | base price | Per foot | length | Bolt adder | assembled price | Breaker adder | Price to Wesco | List Price | Budgetary pricing text | phase type | conductor count | neutral | current | UseVoltage | plate hole | box | Box code | Box options | Breaker options
1 | 1 | 460R9W | MCC | 50 | 10 | Black (conduit) |  |  |  | 1 | 3 | 5 |  |  |  |  | 3/4 | 6 | 8 | 208 | Standard Power Whip Box | -------- | -------- | -------- | -------- | -------> | *PWxx-460R9W, MCC, 50, 10T-xxSALx(103) | *460R9W, MCC, 50, 10 - Pattern not found in MasterBubbleUpLookup data | *PW250K-460R9W, MCC, 50, 10T-D2SAL1234 | 287.2 | 6 | 260 | 0 | 1847.2 | 0 | 1847.2 | 2462.933333 | *Whip 460R9W, MCC, 50, 10 6AWG 3/4MCC 250ft - Pattern not found in lookup | 3D | 3 | 0 | 60 | 208 | 60AH | 60AH | 60AH |  | 3 Pole, 60A, 240/120V, Bolt in, 22KA, Square D, QOB360VH
2 | 1 | L5-20R | FMC | 300 | 10 | Black (conduit) |  |  |  | 1 | 3 | 5 |  |  |  |  | 3/4 | 6 | 8 | 208 | Standard Power Whip Box | -------- | -------- | -------- | -------- | -------> | *PWxx-L5-20R, FMC, 300, 10T-xxSALx(103) | *L5-20R, FMC, 300, 10 - Pattern not found in MasterBubbleUpLookup data | *PW250K-L5-20R, FMC, 300, 10T-D3SAL1234 | 287.2 | 6 | 260 | 0 | 1847.2 | 0 | 1847.2 | 2462.933333 | *Whip L5-20R, FMC, 300, 10 6AWG 3/4MCC 250ft - Pattern not found in lookup | 3D | 3 | 0 | 60 | 208 | 60AH | 60AH | 60AH |  | 3 Pole, 60A, 240/120V, Bolt in, 22KA, Square D, QOB360VH
3 | 1 | CS8269A | LFMC | 60 | 10 | Black (conduit) |  |  |  | 1 | 3 | 5 |  |  |  |  | 3/4 | 6 | 8 | 208 | Standard Power Whip Box | -------- | -------- | -------- | -------- | -------> | *PWxx-CS8269A, LFMC, 60, 10T-xxSALx(103) | *CS8269A, LFMC, 60, 10 - Pattern not found in MasterBubbleUpLookup data | *PW250K-CS8269A, LFMC, 60, 10T-D4SAL1234 | 287.2 | 6 | 260 | 0 | 1847.2 | 0 | 1847.2 | 2462.933333 | *Whip CS8269A, LFMC, 60, 10 6AWG 3/4MCC 250ft - Pattern not found in lookup | 3D | 3 | 0 | 60 | 208 | 60AH | 60AH | 60AH |  | 3 Pole, 60A, 240/120V, Bolt in, 22KA, Square D, QOB360VH